## Slide 1: N-Blocks Industrial I/O
Nikos Chalikias
nikolaos.chalikias@cit.ie
TEC@Nimbus Centre
http://nimbus.cit.ie/
Cork Institute of Technology
Ireland

## Slide 2
n-Blocks: Industrial I/O: ni-LabRig Motherboard
CPU
Use Case
REQUIREMENTS
4X
POWER PWM
OUTPUTS
8X
BIDIRECTIONAL
MOTORS
8X
OC
OUTPUTS
8X
OPTO
INPUTS
8X
NTC
4X
LOAD
CELL
CPU
212 X 149 mm

## Slide 3
OUTPUTS
INPUTS
SENSORS
n-Blocks: Industrial I/O
CPU
N-BLOCKS

## Slide 4
n-Blocks: ni-LabRig with n-Blocks
4 X
POWER PWM
OUTPUTS
8 X BIDIRECTIONAL
MOTORS
4 X
OC
OUTPUTS
8 X
DIGITAL
INPUTS
8 X
NTC
INPUTS
4 X
LOAD-CELL
CPU
**** RAPID ****
Use-case
IMPLEMENTATION
212 X 149 mm

## Slide 5
n-Blocks: Industrial I/O: Project Implementation with ni-LabRig
212 X 149 mm

## Slide 6
n-Blocks: Industrial I/O:
ni-Linux concept
RASPBERRY PI

## Slide 7
n-Blocks: Industrial I/O:
modbus concept
DISTRIBUTED SYSTEMS
FAST INTEGRATION
INTEGRATION WITH THIRD PARTY
  INTERFACE CARDS
  HOSTS

## Slide 8
n-Blocks: Industrial I/O: MODBUS
RS-485
ni-Gateway
Distributed
No motherboard Systems
PC, R-PI, or other
HOST
THIRD
PARTY
MODBUS
MODULE

## Slide 9
RS-485
n-Blocks: Industrial I/O: MODBUS
PLC

## Slide 10
n-Blocks: Industrial I/O: ni-Control concept
250 X 150 mm

## Slide 11
n-Blocks: Industrial I/O: ni-Control concept
RF COM
ENCODERS
MOTOR
STEPPING
CPU
RASPBERRY -PI
PSU
INPUT: 12V
OUTPUTS:
5V, 3,3V
INDUSTRIAL
NETWORK
MOTOR
DC
MOTOR
BLDC
LOADCELL
TEMPERATURE
MOTOR
STEPPING
SWITCHES
250 X 150 mm

## Slide 12
n-Blocks: Industrial I/O:
ni-FRONT concept
COM
ADC
DAC
ANALOG
PSU
POWER
TRANSISTORS
POTENTIOMETERS
LEDS
CPU
150 X 78 mm

## Slide 13
n-Blocks: Industrial I/O:
ni-INSTRUMENT concept
125 X 115 mm

## Slide 14
n-Blocks: Industrial I/O:
ni-3DP concept
4 X
STEP MOTORS
SWITCH
INPUTS
POWER
MOSFET
OUTPUTS
POWER
SUPPLY
CPU
LCD
235 X 78 mm

## Slide 15
n-Blocks: Industrial I/O:
ni-3DP implementation
4 X
STEP MOTORS
SWITCH
INPUTS
POWER
MOSFET
OUTPUTS
LCD
POWER
SUPPLY
CAPACITIVE
PROXIMITY
USING HOT-END
AS SENSOR
LEVEL
SENSOR
NEED FOR MORE n-Blocks
EXPANDABLE?
INCREASE SIZE
CPU
235 X 78 mm
CAPACITIVE
LEVEL
SENSOR

## Slide 16
n-Blocks: Industrial I/O:
Terra Liquid Minerals Customized Controller integrating n-Blocks
N-Blocks
n-LoRaWAN
N-Blocks
2.4GHz
802.15.4

## Slide 17
Questions?

## Slide 18
n-Blocks: Industrial I/O:
Iteration-1

## Slide 19
N-DCMOTOR
N-NTC
N-IN8
N-X4LOADCELL
n-Blocks: Industrial I/O:
Iteration-1 patches